## Tabelle1
Block interface |  | In | Out | InOut | Stat | Temp | Const
|  | enable | done | conveyorAxes instTimer | statState instTimer powerBusReady | tempIndex | MAX_VELOCITY
| Prefix | -- | -- | -- (default) "inst" (param-instance) | "stat" (default) "inst" (multi-instance) -- (in global data block) | "temp" | --
| Casing | camelCasing | camelCasing | camelCasing | camelCasing | camelCasing | UPPER_CASING
Tag table |  | PLC tag | User constant | Programming styleguide for SIMATIC S7-1200/ S7-1500 in TIA Portal |  | - Unique, meaningful identifiers in English
|  | lightBarrierLeft | MAX_BELTS |  |  | - Only the characters a-z, A-Z, 0-9 and _
| Prefix | -- | -- |  |  | - Maximum 24 characters per identifier
| Casing | camelCasing | UPPER_CASING |  |  | - Array: axesData [0..#MAX] of type…
- Library: Name max. 8 chars; prefix "LExample_"
Object |  |  | Prefix | Casing
Project |  | AssemblyLine | -- | PascalCasing | Usual abbreviations (maximum one per identifier) | Min / Max | Minimum / Maximum
Library |  | LCom | "L" | PascalCasing |  | Act | Actual, Current
Organization block |  | Main | -- | PascalCasing |  | Next / Prev | Next / Previous value
Function block |  | HeatTank | -- | PascalCasing |  | Avg | Average
Function |  | CalculateTime | -- | PascalCasing |  | Sum | Total sum
Global data block |  | MachineData | -- | PascalCasing |  | Diff | Difference
Single instance data block |  | InstHeater | "Inst" | PascalCasing |  | Cnt | Count
Technological object |  | HeatingAxis | -- | PascalCasing |  | Len | Length
PLC tag table |  | Sensors | -- | PascalCasing |  | Pos | Position
Watch/Force table |  | MachineState | -- | PascalCasing |  | Ris / Fal | Rising / falling edge
Trace |  | ConveyorSpeed | -- | PascalCasing |  | Old | Old value
Measurement |  | Temperature | -- | PascalCasing |  | Sim | Simulated
PLC alarm text list |  | ConveyorAlarms | -- | PascalCasing |  | Dir | Direction
Software unit |  | Magazine | -- | PascalCasing |  | Err / Warn | Error / Warning
PLC datatype |  | typeDiagnostics | "type" | camelCasing |  | Cmd | Command
Element in a PLC datatype |  | stateNumber | -- | camelCasing |  | Addr | Address